## Slide 1
Polarization camera toolbox
By - Kartikey Rathi

## Slide 2
By Kartikey Rathi
Step 1 : Click Process images button.
Rest all buttons are disabled without this.
Opening Interface
New terminal openend after clicking “Process Images”

## Slide 3
By Kartikey Rathi
Click “Yes” for 2 shot capture upload
File selection option will appear twice.
Upload Main image(Without the QWP)
Upload 2nd image(With the QWP)
Single image upload option
Click “No” for 1 shot capture upload
File selection option will appear once
Error window if failed to upload image
Error window if failed to upload image
Error window if failed to upload image

## Slide 4
By Kartikey Rathi
Processing window
Processing completed
Processing completed
Single image uploaded
Two image uploaded
the polarization ellipse plot can only be seen when both the datas are taken

## Slide 5
By Kartikey Rathi
1. Can be selected again to process a new set of data
2. Gives a drop down menu for the options of plots/matrices (parameters)
3. Opens an excel file with the data of the selected parameter
4. Opens a html file of the selected parameter with interactive features
5. Shows the .bmp files’ data used for processing and giving results
6. Opens the heatmap of selected paramter (non interactive)
7. Gives ellipse plots corresponding to various pixels of the data.

## Slide 6
By Kartikey Rathi
2. Drop-down menu options(parameters)
Single shot upload
Double shot upload

## Slide 7
By Kartikey Rathi
3. Show matrix (opens excel file)
Single shot upload options
Double shot upload options

## Slide 8
By Kartikey Rathi
4. Show interactive plot (opens .html file)
a portion of the interactive plot can be zoomed and value at a particular (x,y) can be viewed

## Slide 9
By Kartikey Rathi
5. Show I_subplots
6. Display Image(shows image in the terminal)

## Slide 10
By Kartikey Rathi
7. Show interactive ellipse plot
(shows ellipse plots which can be zoomed and viewed at particular points)